Our records indicate that your organization has one or more Siemens/Wallace & Tiernan 210M/S VACUUM REGULATOR.

We recommend the following parts be kept on hand at your facility so that small, immediate repairs can be accomplished with a minimum of down time.

| 1- | AAA1160 | Prev Maint Kit |
| --- | --- | --- |
| 1- | AAC5369 | Nipple Assembly |
| 2- | AAA7106 | Screen |
| 2- | AAA7109 | Filter |
| 5- | P16191 | Lead Gasket |
| 2- | BM5375 | 3/8 x 1/2” Connector |

The most critical item to have on hand is the AAA1160 Preventive Maintenance Kit.  The kit contains the diaphragms and o-rings necessary for a normal repair.  Depending on the quantity of vacuum regulators you have in use, we recommend at least 1 kit on hand for every 3 regulators.

The AAC5369 Nipple Assembly includes the APQ4110 Spring, ANM5366 Stem, AAB1949 Seat and AIC5355 Retainer as an assembly, ready to install.

There are upgrade kits available for both the Manual regulator (AAB4859) and the Switchover regulator (AAB4862).  These kits include the handle assembly, diaphragm backing plate and pressure relief spring in addition to the items in the preventive maintenance kit.

If your organization doesn’t have the time or your personnel are not qualified to perform maintenance on these units, they may be sent in to our office and our factory certified technicians would be happy to perform the necessary repairs.

The entire instruction manual is available at our website  www.borgesmahoney.com, under the tab O&M’s, as well as other useful information and a brief description of the services our company provides.

If you need more information or we can be of further service, please feel free to contact us.

Thank you